## DRR
Date | Change | ECO
2012-08-23 | First release
2012-09-13 | NDS added
2012-09-17 | Descriptions aligned with price list
2014-02-12 | MQ52D and MR52D added (IQ Quattro)
2014-02-21 | Error regarding SUTA and SUTB corrected (SUTA ~ IQQ44, SUTB ~ SUTB)
2014-02-28 | IQQ: Pressure rollers, Glass plate, basket and calibration sheet swapped Basket for 24" added Castors for high stands added IQ24 and IQ44 columns swapped
2014-04-09 | MN52D, MP52D, MQ52D,MR52D: 5205A023R01, Rubber Feet for Scanner (4 pcs.) removed as spare parts
2016-12-06 | Added: 2205E032R01, Adapter for Tube (10 pcs.)
2016-12-06 | Added: 2205E033R01, Elbow for Tube 18x12 (10 pcs)
2017-04-03 | Added: 2852D111, Ethernet + USB Cable, Panel Mount (24'') (2898A184 removed as sp for 24")
2017-05-16 | Steppermotor 2898D101 changed to 2852D116 which includes pulley
2017-05-18 | IQQ36 parts added
2017-05-18 | Pressure Rollers 2852D105 replaced with 2853D140 (identical)
2017-05-18 | Pressure Rollers 2852D106 replaced with 2853D115 (identical)
2017-05-18 | Renamed: 2898A186, 2898A187, 2853D115, 2853D116, 2853D140
2017-10-04 | Added: 2852D117, IQQ44 Shifted Pressure Roller Cover Kit
2019-09-16 | Added: 2852D119-123
2020-06-25 | IQQ X44 added | ECO2-37890
2020-08-21 | IQQ X44: USB cable 2852D131 changed to 2867G121 (same as HDUX) | ECO2-37969
2020-11-04 | IQQ X36 added
2021-04-28 | Added: 2852D144, FFC Cable Kit, IQQX | ECO2-38381
2022-06-08 | Added: 2853D154, Top Roller Pressure Unit (12 pcs), Tx53D | ECO2-38867
2025-08-10 | IQQ X24 + missing parts added | ECO2-40073
2025-10-13 | Cable kit 2852D144 renamed from <FFC Cable Kit, IQQX> to <SUX to CBU Cable Kit, IQQX> | ECO2-40131
2025-10-13 | 2852D152 (Cable Set for CIS Elements, IQQ X24) added to SP list 2852D153 (Cable Set for CIS Elements, IQQ X36) added to SP list 2852D154 (Cable Set for CIS Elements, IQQ X44) added to SP list | ECO2-40131

## Spare Part List
|  | IQ Quattro X24 | IQ Quattro X36 | IQ Quattro X44 | IQ Quattro 3600 | IQ Quattro 4400 | IQ Quattro 2400 | IQ 4400 | IQ 2400 |  |  | * Restricted means that this part may not be available after Last Customer Shipment
Part Number | Description | MX52D | MV52D | MU52D | MT52D | MR52D | MQ52D | MN52D | MP52D | Restricted* | Fig. | Comments
Spare Parts
0007S050R01 | Power Entry Module with 2A EMI Filter |  |  |  | x | x | x | x | x |  | 2-01
0007S046R01 | Inlet | x | x | x | [6 empty] | 3-01
2852D130 | RFI Filter, IQQX | x | x | x | [6 empty] | 3-02
0080A074R01 | Power Supply (SMPS) | x |  |  | x | x | x | x | x |  | 2-02
|  |  | x | x | [6 empty] | 3-03
2852D123 | PSU Bracket, IQQ |  |  |  | x | x | x |  |  | x | 2-17
2852D134 | PSU Bracket, IQQX | x | x | x | [5 empty] | x | 3-14
2898A178 | SURA Controller Board | [6 empty] | x |  |  | 2-03
2898A179 | SURB Controller Board | [7 empty] | x |  | 2-03
2852D101 | SUTA Controller Board |  |  |  |  | x |  |  |  |  | 2-03
2852D102 | SUTB Controller Board | [5 empty] | x |  |  |  | 2-03
2852D114 | SUTK Controller Board |  |  |  | x | [5 empty] | 2-03
2852D143 | SUXD Controller Board | x | x | x | [6 empty] | 3-16
2852D144 | SUX to CBU Cable Kit, IQQX | x | x | x | [6 empty] | 3-21
2852D152 | Cable Set for CIS Elements, IQQ X24 | x
2852D153 | Cable Set for CIS Elements, IQQ X36 |  | x
2852D154 | Cable Set for CIS Elements, IQQ X44 |  |  | x
2852D142 | CBUA Board | x | x | x | [6 empty] | 3-04 | Mx52D only with R=1 only in SN 52DxYMnnnROC
2852D149 | CBUB Board | x | x | x | [6 empty] | 3-04 | Mx52D only with R=2 or higher in SN 52DxYMnnnROC
2898A180 | CIS Unit, 44" (excl. SUR Main Board) | [6 empty] | x |  |  | 2-04
2898A181 | CIS Unit, 24" (excl. SUR Main Board) | [7 empty] | x |  | 2-04
2852D103 | CIS Unit, 24" (excl. SUTB Board) | [5 empty] | x |  |  |  | 2-04
2852D104 | CIS Unit, 44" (excl. SUTA Board) |  |  |  |  | x |  |  |  |  | 2-04
2852D115 | CIS Unit, 36" (excl. SUTK Board) |  |  |  | x | [5 empty] | 2-04
2853D133 | CIS Element (1 pcs)(JJ12H) |  |  |  | x | x | x |  |  |  | 2-21
|  | x | x | x | [6 empty] | 3-05
5263D017R01 | Stepper Motor Assy | [6 empty] | x | x |  | 2-05
2852D116 | Stepper Motor with Pulley, IQQ |  |  |  | x | x | x |  |  |  | 2-05
2852D132 | Stepper Motor with Pulley, IQQX | x | x | x | [6 empty] | 3-06
2852D133 | Drive Belt, IQQX | x | x | x | [6 empty] | 3-15
2851E108 | Drive Belt, S2M 318mm |  |  |  | x | x | x |  |  |  | 2-18
2852D129 | Pulley GT 2MR T=40, IQQ+SD36 Packed |  |  |  | x | x | x |  |  | x | 2-20
2852D135 | Pulley for Feed Rollers, IQQX (2 pcs) | x | x | x | [5 empty] | x | 3-18
0075A160R01 | Paper/Lid Sensor (1 pcs.) |  |  |  | x | x | x | x | x |  | 2-06
|  | x | x | x | [6 empty] | 3-07
0075A050R01 | Optointerrupter |  |  |  | x | x | x | x | x |  | 2-07 | Tacho Sensor
5229A031R01 | Pressure Rollers (6 pcs.) | [6 empty] | x |  |  | 2-08
5229A031R02 | Pressure Rollers (3 pcs.) | [7 empty] | x |  | 2-08
2853D140 | Pressure Rollers, IQQ/SD One (6 pcs) |  |  |  |  | x |  |  |  |  | 2-08 | Replaces 2852D105 (identical)
2853D116 | Pressure Rollers, IQQ/SD One (5 pcs) |  |  |  | x | [5 empty] | 2-08
2853D115 | Pressure Rollers, IQQ/SD One (3 pcs) | [5 empty] | x |  |  |  | 2-08 | Replaces 2852D106 (identical)
2852D137 | Pressure Rollers, IQQX + SD One X (5 pcs) |  | x | [7 empty] | 3-08
2852D138 | Pressure Rollers, IQQX + SD One X (6 pcs) |  |  | x | [6 empty] | 3-08
2852D150 | Pressure Rollers, IQQX + SD One X (3 pcs) | x
2852D117 | IQQ44 Shifted Pressure Roller Cover Kit |  |  |  |  | x |  |  |  | x | 2-14 | Roller Cover and Plastic Towers for white pressure rollers. Same cover revision as for scanners with 2 or higher in 10th character in serial number (52DRxxxxx2xx)
5229D094R01 | Feed Roller 24'', IQQ (2 pcs.) | x |  |  |  |  | x |  |  | x | 2-15
2852D119 | Feed Roller 36", IQQ (2 pcs.) |  |  |  | x |  |  |  |  | x | 2-15
|  |  | x | [6 empty] | x | 3-12
5229D096R01 | Feed Roller 44'', IQQ (2 pcs.) |  |  |  |  | x |  |  |  | x | 2-15
|  |  |  | x | [6 empty] | 3-12
2852D120 | Idle Rollers, IQQ24 (2 pcs.) | x |  |  |  |  | x |  |  | x | 2-16
2852D121 | Idle Rollers, IQQ36 (5 pcs.) |  |  |  | x |  |  |  |  | x | 2-16
|  |  | x | [6 empty] | x | 3-13
2852D122 | Idle Rollers, IQQ44 (6 pcs.) |  |  |  |  | x |  |  |  | x | 2-16
|  |  |  | x | [5 empty] | x | 3-13
2898A182 | Cover Assy, IQ24/44 (incl Operators Panel) |  |  |  | x | x | x | x | x |  | 2-09
2852D139 | Cover Assy, IQQX (incl Operators Panel) | x | x | x | [6 empty] | 3-09
2898A183 | Oil damper for CIS Bridge | x |  |  | x | x | x | x | x |  | 2-10
|  |  | x | x | [6 empty] | 3-10
2852D124 | IQQ Lid Latch Kit, Complete |  |  |  | x | x | x |  |  | x | 2-19
|  | x | x | x | [5 empty] | x | 3-17
2898A184 | Ethernet + USB2.0 Cable, Panel Mount |  |  |  | x | x |  | x |  |  | 2-11 | Internal cable from SUNA to rear of scanner
2852D111 | Ethernet + USB Cable, Panel Mount (24'') | [5 empty] | x |  | x |  | 2-11 | Internal cable from SUNA to rear of scanner
2867G121 | USB3.0 + 1Gbit Cable, 0.4m, Panel Mount | x | x | x | [5 empty] | x | 3-11
2853D154 | Top Roller Pressure Unit (12 pcs), Tx53D | x | x | x | x | x | x | x | x | x
Refurbishment Parts
5202A003R01 | LHS End Cover, Mx52D |  |  |  | x | x | x | x | x |  | 2-12
|  | x | x | x | [6 empty] | 3-19
0601A005R01 | Castors, Low Stand (4 pcs.) | x | x | x | x | x | x | x | x |  | 1-01
0091A004R01 | Castors, High Stand (4 pcs.) | x | x | x | x | x | x | x | x |  | 1-01
2898A185 | Basket Assembly, 44" |  |  | x |  | x |  | x |  |  | 1-02
2852D107 | Basket Assembly, 24" | x |  |  |  |  | x |  | x |  | 1-02
2852D113 | Basket Assembly, 36" |  | x |  | x | [5 empty] | 1-02
2205E032R01 | Adapter for Tube (10 pcs.) | x | x | x | x | x | x |  |  |  | 1-07
2852D148 | Snap-Lock for Glass, 4pcs |  |  |  | x | x | x |  |  | x | 2-22
|  | x | x | x | [5 empty] | x | 3-22
2205E033R01 | Elbow for Tube 18x12 (10 pcs) | x | x | x | x | x | x |  |  | x | 1-06
2852D125 | Accessories Kit, IQQ |  |  |  | x | x | x |  |  | x
2852D136 | Accessories Kit, IQQX | x | x | x | [5 empty] | x
2898D118 | Mains Cord, 3-lead, CEE | x | x | x | x | x | x |  |  | x
2898D119 | Mains Cord, 3-lead, UK | x | x | x | x | x | x |  |  | x
2898D120 | Mains Cord, 3-lead, US | x | x | x | x | x | x |  |  | x
2898D121 | Micro Fibre Cloth (400x400) | x | x | x | x | x | x |  |  | x
2852D126 | Complete Packaging + Pallet, IQQ 24 | x |  |  |  |  | x |  |  | x
2852D127 | Complete Packaging + Pallet, IQQ 36 |  | x |  | x |  |  |  |  | x
2852D128 | Complete Packaging + Pallet, IQQ 44 |  |  | x |  | x |  |  |  | x
Consumables
5229A005R01 | Glass Plate, 44" |  |  |  |  | x |  | x |  |  | 2-13
|  |  |  | x | [6 empty] | 3-20
5398A008 | Glass Plate, 36" |  |  |  | x | [5 empty] | 2-13
|  |  | x | [7 empty] | 3-20
5229D014R01 | Glass Plate, 24" | x |  |  |  |  | x |  | x |  | 2-13
Accessories
5398A009 | USB2.0 Cable with Ferrite, A/B, 3m |  |  |  | x | x | x | x | x
2898D102 | Ethernet Cat6 LAN Cable, 5m, Black | x | x | x
2867G124 | USB3.0 Cable, A/B, 2m | x | x | x
2898A186 | Paperguide, IQ/IQQ (2 pcs.) | x | x | x | x | x | x | x | x |  | 1-04
2898A187 | Return Guide, IQ/IQQ (1 pcs.) | x | x | x | x | x | x | x | x |  | 1-05
0090B118R01 | 21" Touch Screen | x | x | x | x | x | x |  |  |  |  | Replaces 0090B080R01
2200H127R01 | TS Kit for High Adj. Stand wo TS | x | x | x | x | x | x |  |  | x |  | For high adjustable stand 2200H006, 2200H007
2200H126R01 | TS Kit for Low Adj. Stand wo TS | x | x | x | x | x | x |  |  | x |  | For low adjustable stand 2200H002, 2200H003
Service Tools
2898A188 | Calibration Sheet, 44", packed |  |  |  |  | x |  | x
2898A189 | Calibration Sheet, 24", packed | [5 empty] | x |  | x
2852D112 | Calibration Sheet, 36", packed |  |  |  | x
2852D151 | Calibration Sheet, X24, packed | x
2852D141 | Calibration Sheet, X36, packed |  | x
2852D140 | Calibration Sheet, X44, packed |  |  | x

## Fig. 1, Exterior View
Return to Spare Part List
Fig. 1, Exterior View
1-02, Basket Assembly
Floor Stand
1-01, Castor (x4))
1-05, Return Guide (IQ24/44)
1-04, Paperguide (IQ24/44) (x2)
1-06, Elbow for Tube
1-07, Adapter for Tube

## Fig. 2, Top View - IQQ
Return to Spare Part List
Return to Spare Part List | Return to Spare Part List
Fig. 2, Top View
2-03, SUR Board
2-04, CIS Unit
2-13, Glass Plate
2-08, Pressure Roller (x3/x5/x6)
2-06, Lid Open Sensor
2-06, Paper Sensors (x1)
2-10, Oil Damper
2-01, Power Entry Module
2-12, LHS End Cover
2-01, Power Supply
2-05, Stepper Motor Assy
2-07, Tacho Sensor
2-09, Cover Assy, IQ24/44
2-11, Ethernet + USB2.0 Cable
2-14
2-17, PSU Bracket
2-15, Feed Roller
2-16, Idle Rollers
2-18, Drive Belt
2-19, Latch Kit
2-19, Latch Kit
2-20, Pulley
2-21, CIS Element
2-22, Snap-Lock for Glass

## Fig. 3, Top View - IQQX
Return to Spare Part List
Return to Spare Part List | Return to Spare Part List
Fig. 3, IQQX Top View
3-08, Pressure Roller (x5/x6)
3-07, Lid Open Sensor
3-07, Paper Sensors (x1)
3-21, FFC Cables
3-10, Oil Damper
3-01, Inlet
3-19, LHS End Cover
3-02, RFI Filter
3-06, Stepper Motor Assy
3-18, Pulley
3-09, Cover Assy, IQQX
3-11, USB3.0 + GbE Cable
3-16, SUX Board
3-14, PSU Bracket
3-12, Feed Roller
3-03, Power Supply
3-04, CBUA Board
3-14, Drive Belt
3-17, Latch Kit
3-20, Glass Plate
3-13, Idle Rollers
3-05, CIS Element
3-17, Latch Kit
3-22, Snap-Lock for Glass