## DRR
Date | Change | ECO
2024-06-25 | First release | ECO2-39672
2024-08-19 | 2861A111: Description changed to Linear Module with Screw + Stepper Motor, BACK | ECO2-39731
2024-08-19 | New SP 2861A141, Linear Module with Screw + Stepper Motor, FRONT | ECO2-39731
2024-09-09 | Added 2861A142, 2861A143 and 2861A144 | ECO2-39760
2025-02-12 | New SP's: 2861A146, 2867G174 + SP price for 2861A139 released | ECO2-39917
2025-04-16 | Notes on where used added to some SP's | ECO2-39980
2025-10-13 | Cable kit 2861A109 renamed from <FFC Cable Kit, SA61A> to <SUX to CBV Cable Kit, SA61A> | ECO2-40131
2026-02-18 | New SP and Service tools kit for SA61A | ECO2-40221

## Spare Part List
|  | HD Apeiron/42 |  |  | * Restricted means that this part may not be available after Last Customer Shipment
Part Number | Description | SA61A | Restricted* | Fig. | Comments
2867G107 | PSU, 24V/200W, ATM200T | x
2861A136 | SUX Variant F | x
2867G168 | Camera Board, CBV | x
2861A113 | Laser Module | x
2861A116 | Interconnection Board, IBF | x
0077E038R01 | RFI-Filter | x
2861A106 | Inlet, Snap-On | x
2861A118 | Power Switch, SA61A | x
2867G154 | Complete Camera, RB67G | x
6798G008 | DC Gear Motor, 12V, 392:1, ø27mm | x
2861A111 | Linear Module with Screw + Stepper Motor, BACK | x |  |  | Scanners with R=3 or higher in SN 61AxYMnnnROC
2861A141 | Linear Module with Screw + Stepper Motor, FRONT | x |  |  | Scanners with R=3 or higher in SN 61AxYMnnnROC
2861A107 | Paper/Lid Sensor (1 pcs.) | x |  |  | Table Position Sensor
2861A123 | Lamp Position Sensors | x |  |  | Scan Module Top Position Sensor
2867G110 | Tacho Sensor | x |  |  | Scan Module Bottom Position Sensor
2861A115 | Timing Belt | x
2861A121 | PU Roller, Table Edge Support, 4 pcs. | x
2861A122 | PU Roller, Rail Guidance, 6 pcs. | x
2861A127 | Table Drive System Assembly, SA61A | x
2861A108 | USB3.0 + 1Gbit Cable, 1.3m, Panel Mount | x
2861A109 | SUX to CBV Cable Kit, SA61A | x
2861A117 | Emergency Stop Switch Assy | x
2861A119 | Sleep Switch, SA61A | x
2861A120 | Excentric for Lamp, 4 pcs | x
2861A125 | Laser Housing/Bracket | x |  |  | Scanners with R=2 or higher in SN 61AxYMnnnROC
2861A112 | Laser Housing, SA61A | x | X |  | Scanners with R=1 only in SN 61AxYMnnnROC
2861A110 | K-Plate, SA61A, 2 pcs | x
2861A126 | 60" Scanning Table, SA61A | x
2861A139 | Lamp Assy, SA61A | x
2861A140 | Drive Belt, SA61A | x
2861A144 | Dampers for Lamp Assy, 2 pcs | x
Consumables
2861A124 | Calibration Plate Packed, SA61A | x
Refurbishment Parts
2898D118 | Mains Cord, 3-lead, CEE | x
2898D119 | Mains Cord, 3-lead, UK | x
2898D120 | Mains Cord, 3-lead, US | x
2898D121 | Micro Fibre Cloth (400x400) | x
Accessories
2861A137 | USB 3.0 Cable 1.5m | x
Service Parts
2861A138 | Optical Adjustment Pattern, 6C42 /SA61A) | x
2861A142 | Grease for Linear Module with Screw, SA61A | x
2861A143 | Scan Module Distance Spacer | x
2861A145 | Mounting Tool for Safety Switch, SA61A | x
2861A146 | Wrench for 30mm AF Nut, SA61A | x
2861A147 | Service Tool Kit, SA61A | x |  |  | Includes 2861A143, 2861A145 and 2861A146